## ZHA Guide
Pairing Steps | (1)Create a new folder named "zha_quirks" in the Home Assistant configuration directory using the File Editor add-on. Skip this step if the folder already exists. | =DISPIMG("ID_E5B082096F2C43708360779B813CF85A",1)
| (2)Upload the TRV-ZBT.py file.(Please check the email attachment) | =DISPIMG("ID_1537314D0D7A46B2AE7EE7DE4CAACC45",1)
| (3)Use File Editor to insert the required code into homeassistant/configuration.yaml zha: database_path: /config/zigbee.db enable_quirks: true custom_quirks_path: /config/zha_quirks/ | =DISPIMG("ID_F540D10FB42B4852BE31B922B973908A",1)
| (4)Save the changes and restart Home Assistant. | =DISPIMG("ID_1D584B806568444B93313B8401773AA0",1)
| (5)Open the ZHA integration to add the device. | =DISPIMG("ID_D802365FC1664593AB404AEC72D22961",1)
| (6)Put the Device into Pairing Mode. In Manual mode, rotate the knob anticlockwise to lower the set temperature until “OFF” appears on the screen. Press and hold the centre button for 2 seconds until the pairing icon flashes. The device will then enter pairing mode. When the "clock" icon is displayed, the device is in Automatic mode. When the "hand" icon is displayed, the device is in Manual mode . Briefly press the centre button to switch between the two modes. | =DISPIMG("ID_75475907D6244061BACEE4FA308DD35B",1)
| (7)After adding the device, you can start using it. | =DISPIMG("ID_9A38F4F8B1F84E40856BBF85B7C5C5E2",1)